## IPS-Modul Config Arr
Nr | Field | Name | Daten Type | Profil | Faktor | Round | Group Ident | Group Name | GroupPos | Pos | enable
1 | F | Frequency | VARIABLETYPE_FLOAT | SM.Hz.2 | 1 | 2 | Basic | Basic | 10 | 1 | true | 'F' => ['Frequency', VARIABLETYPE_FLOAT, 'SM.Hz.2', 1, 2, 'Basic', 'Basic', 10, 1, true],
2 | T | Internal Temperature | VARIABLETYPE_FLOAT | ~Temperature | 1 | 2 | Basic | Basic | 10 | 2 | true | 'T' => ['Internal Temperature', VARIABLETYPE_FLOAT, '~Temperature', 1, 2, 'Basic', 'Basic', 10, 2, true],
91 | STATUS | Status of the VPM | VARIABLETYPE_INTEGER |  | 1 | 0 | Basic | Basic | 10 | 3 | true | 'STATUS' => ['Status of the VPM ', VARIABLETYPE_INTEGER, '', 1, 0, 'Basic', 'Basic', 10, 3, true],
90 | TIME | Operating Time (last fctory reset) | VARIABLETYPE_INTEGER | Duration.ms | 1 | 0 | Basic | Basic | 10 | 4 | true | 'TIME' => ['Operating Time (last fctory reset)', VARIABLETYPE_INTEGER, 'Duration.ms', 1, 0, 'Basic', 'Basic', 10, 4, true],
121 | SAMPLES | Counter from the Quadrants updated values | VARIABLETYPE_INTEGER |  | 1 | 0 | Basic | Basic | 10 | 5 | true | 'SAMPLES' => ['Counter from the Quadrants updated values', VARIABLETYPE_INTEGER, '', 1, 0, 'Basic', 'Basic', 10, 5, true],
25 | PA | Leistung L1 | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | Px | Wirkleistung | 10 | 6 | true | 'PA' => ['Leistung L1', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'Px', 'Wirkleistung', 10, 6, true],
26 | PB | Leistung L2 | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | Px | Wirkleistung | 10 | 7 | true | 'PB' => ['Leistung L2', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'Px', 'Wirkleistung', 10, 7, true],
27 | PC | Leistung L3 | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | Px | Wirkleistung | 10 | 8 | true | 'PC' => ['Leistung L3', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'Px', 'Wirkleistung', 10, 8, true],
28 | PT | Leistung Gesamt | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | Px | Wirkleistung | 10 | 9 | true | 'PT' => ['Leistung Gesamt', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'Px', 'Wirkleistung', 10, 9, true],
49 | EFAA | Wirkenergie Bezug L1 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | EFAx | Wirkenergie Bezug | 20 | 10 | true | 'EFAA' => ['Wirkenergie Bezug L1', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'EFAx', 'Wirkenergie Bezug', 20, 10, true],
50 | EFAB | Wirkenergie Bezug L2 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | EFAx | Wirkenergie Bezug | 20 | 11 | true | 'EFAB' => ['Wirkenergie Bezug L2', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'EFAx', 'Wirkenergie Bezug', 20, 11, true],
51 | EFAC | Wirkenergie Bezug L3 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | EFAx | Wirkenergie Bezug | 20 | 12 | true | 'EFAC' => ['Wirkenergie Bezug L3', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'EFAx', 'Wirkenergie Bezug', 20, 12, true],
52 | EFAT | Wirkenergie Bezug Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | EFAx | Wirkenergie Bezug | 20 | 13 | true | 'EFAT' => ['Wirkenergie Bezug Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'EFAx', 'Wirkenergie Bezug', 20, 13, true],
999 | Stat | Status of Metering Chip | VARIABLETYPE_INTEGER |  | 1 | 2 | NULL | Advanced | 999 | 14 | false | 'Stat ' => ['Status of Metering Chip', VARIABLETYPE_INTEGER, '', 1, 2, 'NULL', 'Advanced', 999, 14, false],
999 | IN1 | N Line Sampled current RMS | VARIABLETYPE_FLOAT |  | 1 | 2 | NULL | Advanced | 999 | 15 | false | 'IN1' => ['N Line Sampled current RMS', VARIABLETYPE_FLOAT, '', 1, 2, 'NULL', 'Advanced', 999, 15, false],
65 | ERAA | Wirkenergie Einspeisung L1 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | ERAx | Wirkenergie Einspeisung | 21 | 16 | true | 'ERAA' => ['Wirkenergie Einspeisung L1', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'ERAx', 'Wirkenergie Einspeisung', 21, 16, true],
66 | ERAB | Wirkenergie Einspeisung L2 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | ERAx | Wirkenergie Einspeisung | 21 | 17 | true | 'ERAB' => ['Wirkenergie Einspeisung L2', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'ERAx', 'Wirkenergie Einspeisung', 21, 17, true],
67 | ERAC | Wirkenergie Einspeisung L3 | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | ERAx | Wirkenergie Einspeisung | 21 | 18 | true | 'ERAC' => ['Wirkenergie Einspeisung L3', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'ERAx', 'Wirkenergie Einspeisung', 21, 18, true],
68 | ERAT | Wirkenergie Einspeisung Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | ERAx | Wirkenergie Einspeisung | 21 | 19 | true | 'ERAT' => ['Wirkenergie Einspeisung Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'ERAx', 'Wirkenergie Einspeisung', 21, 19, true],
6 | VA | AC-Spannung L1 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 20 | true | 'VA' => ['AC-Spannung L1', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 20, true],
7 | VB | AC-Spannung L2 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 21 | true | 'VB' => ['AC-Spannung L2', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 21, true],
8 | VC | AC-Spannung L3 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 22 | true | 'VC' => ['AC-Spannung L3', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 22, true],
89 | VT | durchschnittliche N-Phasen-Spannung | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 23 | true | 'VT' => ['durchschnittliche N-Phasen-Spannung ', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 23, true],
85 | VAB | AC-Spannung L1 - L2 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 24 | true | 'VAB' => ['AC-Spannung L1 - L2', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 24, true],
86 | VBC | AC-Spannung L2 - L3 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 25 | true | 'VBC' => ['AC-Spannung L2 - L3', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 25, true],
87 | VCA | AC-Spannung L3 - L1 | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 26 | true | 'VCA' => ['AC-Spannung L3 - L1', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 26, true],
88 | VPT | durchschnittliche Phase-Phase-Spannung | VARIABLETYPE_FLOAT | SM.Volt.2 | 1 | 2 | Vx | AC-Spannung | 30 | 27 | true | 'VPT' => ['durchschnittliche Phase-Phase-Spannung ', VARIABLETYPE_FLOAT, 'SM.Volt.2', 1, 2, 'Vx', 'AC-Spannung', 30, 27, true],
9 | IA | AC-Strom L1 | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | Ix | AC-Strom | 35 | 28 | true | 'IA' => ['AC-Strom L1', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'Ix', 'AC-Strom', 35, 28, true],
10 | IB | AC-Strom L2 | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | Ix | AC-Strom | 35 | 29 | true | 'IB' => ['AC-Strom L2', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'Ix', 'AC-Strom', 35, 29, true],
11 | IC | AC-Strom L3 | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | Ix | AC-Strom | 35 | 30 | true | 'IC' => ['AC-Strom L3', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'Ix', 'AC-Strom', 35, 30, true],
12 | IN | AC-Strom N | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | Ix | AC-Strom | 35 | 31 | true | 'IN' => ['AC-Strom N', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'Ix', 'AC-Strom', 35, 31, true],
5 | IN0 | AC-Strom N (Calculated) | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 2 | Ix | AC-Strom | 35 | 32 | true | 'IN0' => ['AC-Strom N (Calculated)', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 2, 'Ix', 'AC-Strom', 35, 32, true],
118 | IADC | Direct Current - Phase A | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | IxDC | Direct Current | 36 | 33 | true | 'IADC' => ['Direct Current - Phase A', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'IxDC', 'Direct Current', 36, 33, true],
119 | IBDC | Direct Current - Phase B | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | IxDC | Direct Current | 36 | 34 | true | 'IBDC' => ['Direct Current - Phase B', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'IxDC', 'Direct Current', 36, 34, true],
120 | ICDC | Direct Current - Phase C | VARIABLETYPE_FLOAT | SM.Current.3 | 1 | 3 | IxDC | Direct Current | 36 | 35 | true | 'ICDC' => ['Direct Current - Phase C', VARIABLETYPE_FLOAT, 'SM.Current.3', 1, 3, 'IxDC', 'Direct Current', 36, 35, true],
45 | PFA | Leistungsfaktor L1 | VARIABLETYPE_FLOAT |  | 1 | 2 | PFx | Leistungsfaktor | 50 | 36 | true | 'PFA' => ['Leistungsfaktor L1', VARIABLETYPE_FLOAT, '', 1, 2, 'PFx', 'Leistungsfaktor', 50, 36, true],
46 | PFB | Leistungsfaktor L2 | VARIABLETYPE_FLOAT |  | 1 | 2 | PFx | Leistungsfaktor | 50 | 37 | true | 'PFB' => ['Leistungsfaktor L2', VARIABLETYPE_FLOAT, '', 1, 2, 'PFx', 'Leistungsfaktor', 50, 37, true],
47 | PFC | Leistungsfaktor L3 | VARIABLETYPE_FLOAT |  | 1 | 2 | PFx | Leistungsfaktor | 50 | 38 | true | 'PFC' => ['Leistungsfaktor L3', VARIABLETYPE_FLOAT, '', 1, 2, 'PFx', 'Leistungsfaktor', 50, 38, true],
48 | PFT | Leistungsfaktor Total | VARIABLETYPE_FLOAT |  | 1 | 2 | PFx | Leistungsfaktor | 50 | 39 | true | 'PFT' => ['Leistungsfaktor Total', VARIABLETYPE_FLOAT, '', 1, 2, 'PFx', 'Leistungsfaktor', 50, 39, true],
13 | IAA | Phasenwinkel Strom L1 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 40 | true | 'IAA' => ['Phasenwinkel Strom L1', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 40, true],
14 | IAB | Phasenwinkel Strom L2 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 41 | true | 'IAB' => ['Phasenwinkel Strom L2', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 41, true],
15 | IAC | Phasenwinkel Strom L3 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 42 | true | 'IAC' => ['Phasenwinkel Strom L3', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 42, true],
16 | UAA | Phasenwinkel Spannung L1-L3 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 43 | true | 'UAA' => ['Phasenwinkel Spannung L1-L3', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 43, true],
17 | UAB | Phasenwinkel Spannung L2-L3 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 44 | true | 'UAB' => ['Phasenwinkel Spannung L2-L3', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 44, true],
18 | UAC | Phasenwinkel Spannung L3-L3 | VARIABLETYPE_FLOAT | SM.PhaseAngel.2 | 1 | 2 | xAx | Phasenwinkel | 55 | 45 | true | 'UAC' => ['Phasenwinkel Spannung L3-L3', VARIABLETYPE_FLOAT, 'SM.PhaseAngel.2', 1, 2, 'xAx', 'Phasenwinkel', 55, 45, true],
37 | QA | Reactive Power - Phase A | VARIABLETYPE_FLOAT | SM.Var.2 | 1 | 2 | RPx | Blindleistung | 60 | 46 | true | 'QA' => ['Reactive Power - Phase A', VARIABLETYPE_FLOAT, 'SM.Var.2', 1, 2, 'RPx', 'Blindleistung', 60, 46, true],
38 | QB | Reactive Power - Phase B | VARIABLETYPE_FLOAT | SM.Var.2 | 1 | 2 | RPx | Blindleistung | 60 | 47 | true | 'QB' => ['Reactive Power - Phase B', VARIABLETYPE_FLOAT, 'SM.Var.2', 1, 2, 'RPx', 'Blindleistung', 60, 47, true],
39 | QC | Reactive Power - Phase C | VARIABLETYPE_FLOAT | SM.Var.2 | 1 | 2 | RPx | Blindleistung | 60 | 48 | true | 'QC' => ['Reactive Power - Phase C', VARIABLETYPE_FLOAT, 'SM.Var.2', 1, 2, 'RPx', 'Blindleistung', 60, 48, true],
40 | QT | Reactive Power - Total | VARIABLETYPE_FLOAT | SM.Var.2 | 1 | 2 | RPx | Blindleistung | 60 | 49 | true | 'QT' => ['Reactive Power - Total', VARIABLETYPE_FLOAT, 'SM.Var.2', 1, 2, 'RPx', 'Blindleistung', 60, 49, true],
61 | EFRA | Forward Reactive Energy - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 50 | true | 'EFRA' => ['Forward Reactive Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 50, true],
62 | EFRB | Forward Reactive Energy - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 51 | true | 'EFRB' => ['Forward Reactive Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 51, true],
63 | EFRC | Forward Reactive Energy - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 52 | true | 'EFRC' => ['Forward Reactive Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 52, true],
64 | EFRT | Forward Reactive Energy - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 53 | true | 'EFRT' => ['Forward Reactive Energy - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 53, true],
77 | ERRA | Reverse Reactive Energy - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 54 | true | 'ERRA' => ['Reverse Reactive Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 54, true],
78 | ERRB | Reverse Reactive Energy - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 55 | true | 'ERRB' => ['Reverse Reactive Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 55, true],
79 | ERRC | Reverse Reactive Energy - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 56 | true | 'ERRC' => ['Reverse Reactive Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 56, true],
80 | ERRT | Reverse Reactive Energy - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | REx | Blindenergie | 65 | 57 | true | 'ERRT' => ['Reverse Reactive Energy - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'REx', 'Blindenergie', 65, 57, true],
102 | ERT1 | Reactive Energy Quadrant 1 - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 58 | true | 'ERT1' => ['Reactive Energy Quadrant 1 - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 58, true],
103 | ERT2 | Reactive Energy Quadrant 2 - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 59 | true | 'ERT2' => ['Reactive Energy Quadrant 2 - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 59, true],
104 | ERT3 | Reactive Energy Quadrant 3 - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 60 | true | 'ERT3' => ['Reactive Energy Quadrant 3 - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 60, true],
105 | ERT4 | Reactive Energy Quadrant 4 - Total | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 61 | true | 'ERT4' => ['Reactive Energy Quadrant 4 - Total', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 61, true],
106 | ERA1 | Reactive Energy Quadrant 1 - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 62 | true | 'ERA1' => ['Reactive Energy Quadrant 1 - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 62, true],
107 | ERA2 | Reactive Energy Quadrant 2 - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 63 | true | 'ERA2' => ['Reactive Energy Quadrant 2 - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 63, true],
108 | ERA3 | Reactive Energy Quadrant 3 - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 64 | true | 'ERA3' => ['Reactive Energy Quadrant 3 - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 64, true],
109 | ERA4 | Reactive Energy Quadrant 4 - Phase A | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 65 | true | 'ERA4' => ['Reactive Energy Quadrant 4 - Phase A', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 65, true],
110 | ERB1 | Reactive Energy Quadrant 1 - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 66 | true | 'ERB1' => ['Reactive Energy Quadrant 1 - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 66, true],
111 | ERB2 | Reactive Energy Quadrant 2 - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 67 | true | 'ERB2' => ['Reactive Energy Quadrant 2 - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 67, true],
112 | ERB3 | Reactive Energy Quadrant 3 - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 68 | true | 'ERB3' => ['Reactive Energy Quadrant 3 - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 68, true],
113 | ERB4 | Reactive Energy Quadrant 4 - Phase B | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 69 | true | 'ERB4' => ['Reactive Energy Quadrant 4 - Phase B', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 69, true],
114 | ERC1 | Reactive Energy Quadrant 1 - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 70 | true | 'ERC1' => ['Reactive Energy Quadrant 1 - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 70, true],
115 | ERC2 | Reactive Energy Quadrant 2 - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 71 | true | 'ERC2' => ['Reactive Energy Quadrant 2 - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 71, true],
116 | ERC3 | Reactive Energy Quadrant 3 - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 72 | true | 'ERC3' => ['Reactive Energy Quadrant 3 - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 72, true],
117 | ERC4 | Reactive Energy Quadrant 4 - Phase C | VARIABLETYPE_FLOAT | SM.kvarh.3 | 0.001 | 3 | RE1_4 | Blindenergie Quadrant 1 - 4 | 66 | 73 | true | 'ERC4' => ['Reactive Energy Quadrant 4 - Phase C', VARIABLETYPE_FLOAT, 'SM.kvarh.3', 0.001, 3, 'RE1_4', 'Blindenergie Quadrant 1 - 4', 66, 73, true],
41 | SA | Apparent Power - Phase A | VARIABLETYPE_FLOAT | SM.VA.2 | 1 | 2 | APx | Scheinleistung | 70 | 74 | true | 'SA' => ['Apparent Power - Phase A', VARIABLETYPE_FLOAT, 'SM.VA.2', 1, 2, 'APx', 'Scheinleistung', 70, 74, true],
42 | SB | Apparent Power - Phase B | VARIABLETYPE_FLOAT | SM.VA.2 | 1 | 2 | APx | Scheinleistung | 70 | 75 | true | 'SB' => ['Apparent Power - Phase B', VARIABLETYPE_FLOAT, 'SM.VA.2', 1, 2, 'APx', 'Scheinleistung', 70, 75, true],
43 | SC | Apparent Power - Phase C | VARIABLETYPE_FLOAT | SM.VA.2 | 1 | 2 | APx | Scheinleistung | 70 | 76 | true | 'SC' => ['Apparent Power - Phase C', VARIABLETYPE_FLOAT, 'SM.VA.2', 1, 2, 'APx', 'Scheinleistung', 70, 76, true],
44 | ST | Apparent Power - Total | VARIABLETYPE_FLOAT | SM.VA.2 | 1 | 2 | APx | Scheinleistung | 70 | 77 | true | 'ST' => ['Apparent Power - Total', VARIABLETYPE_FLOAT, 'SM.VA.2', 1, 2, 'APx', 'Scheinleistung', 70, 77, true],
93 | EMT | Apparent Power - Total (Vector Sum) | VARIABLETYPE_FLOAT | SM.VA.2 | 1 | 2 | APx | Scheinleistung | 70 | 78 | true | 'EMT' => ['Apparent Power - Total (Vector Sum)', VARIABLETYPE_FLOAT, 'SM.VA.2', 1, 2, 'APx', 'Scheinleistung', 70, 78, true],
81 | ESA | Apparent Energy - Phase A | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 79 | true | 'ESA' => ['Apparent Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 79, true],
82 | ESB | Apparent Energy - Phase B | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 80 | true | 'ESB' => ['Apparent Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 80, true],
83 | ESC | Apparent Energy - Phase C | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 81 | true | 'ESC' => ['Apparent Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 81, true],
84 | EST | Apparent Energy - Total | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 82 | true | 'EST' => ['Apparent Energy - Total', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 82, true],
92 | EVT | Apparent Energy - Total (Vector Sum) | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 83 | true | 'EVT' => ['Apparent Energy - Total (Vector Sum)', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 83, true],
94 | ERSA | Apparent Reverse Energy - Phase A | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 84 | true | 'ERSA' => ['Apparent Reverse Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 84, true],
95 | ERSB | Apparent Reverse Energy - Phase B | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 85 | true | 'ERSB' => ['Apparent Reverse Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 85, true],
96 | ERSC | Apparent Reverse Energy - Phase C | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 86 | true | 'ERSC' => ['Apparent Reverse Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 86, true],
97 | ERST | Apparent Reverse Energy - Total | VARIABLETYPE_FLOAT | SM.kVAh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 87 | true | 'ERST' => ['Apparent Reverse Energy - Total', VARIABLETYPE_FLOAT, 'SM.kVAh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 87, true],
98 | EFSA | Apparent Forward Energy - Phase A | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 88 | true | 'EFSA' => ['Apparent Forward Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 88, true],
99 | EFSB | Apparent Forward Energy - Phase B | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 89 | true | 'EFSB' => ['Apparent Forward Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 89, true],
100 | EFSC | Apparent Forward Energy - Phase C | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 90 | true | 'EFSC' => ['Apparent Forward Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 90, true],
101 | EFST | Apparent Forward Energy - Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | AEx | Scheinenergie | 75 | 91 | true | 'EFST' => ['Apparent Forward Energy - Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'AEx', 'Scheinenergie', 75, 91, true],
19 | THUA | Phase A voltage THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 92 | true | 'THUA' => ['Phase A voltage THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 92, true],
20 | THUB | Phase B voltage THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 93 | true | 'THUB' => ['Phase B voltage THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 93, true],
21 | THUC | Phase C voltage THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 94 | true | 'THUC' => ['Phase C voltage THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 94, true],
22 | THIA | Phase A current THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 95 | true | 'THIA' => ['Phase A current THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 95, true],
23 | THIB | Phase B current THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 96 | true | 'THIB' => ['Phase B current THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 96, true],
24 | THIC | Phase C current THD+N | VARIABLETYPE_FLOAT | Percent.2 | 1 | 2 | THD | THD+N | 80 | 97 | true | 'THIC' => ['Phase C current THD+N ', VARIABLETYPE_FLOAT, 'Percent.2', 1, 2, 'THD', 'THD+N', 80, 97, true],
29 | PAF | Active Fundamental Power - Phase A | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | FPx | Fundamental Power | 90 | 98 | true | 'PAF' => ['Active Fundamental Power - Phase A', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'FPx', 'Fundamental Power', 90, 98, true],
30 | PBF | Active Fundamental Power - Phase B | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | FPx | Fundamental Power | 90 | 99 | true | 'PBF' => ['Active Fundamental Power - Phase B', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'FPx', 'Fundamental Power', 90, 99, true],
31 | PCF | Active Fundamental Power - Phase C | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | FPx | Fundamental Power | 90 | 100 | true | 'PCF' => ['Active Fundamental Power - Phase C', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'FPx', 'Fundamental Power', 90, 100, true],
32 | PTF | Active Fundamental Power - Total | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | FPx | Fundamental Power | 90 | 101 | true | 'PTF' => ['Active Fundamental Power - Total', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'FPx', 'Fundamental Power', 90, 101, true],
53 | EFAF | Forward Active Fundamental Energy - Phase A | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 102 | true | 'EFAF' => ['Forward Active Fundamental Energy - Phase A ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 102, true],
54 | EFBF | Forward Active Fundamental Energy - Phase B | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 103 | true | 'EFBF' => ['Forward Active Fundamental Energy - Phase B ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 103, true],
55 | EFCF | Forward Active Fundamental Energy - Phase C | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 104 | true | 'EFCF' => ['Forward Active Fundamental Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 104, true],
56 | EFTF | Forward Active Fundamental Energyt - Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 105 | true | 'EFTF' => ['Forward Active Fundamental Energyt - Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 105, true],
69 | ERAF | Reverse Active Fundamental Energy - Phase A | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 106 | true | 'ERAF' => ['Reverse Active Fundamental Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 106, true],
70 | ERBF | Reverse Active Fundamental Energy - Phase B | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 107 | true | 'ERBF' => ['Reverse Active Fundamental Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 107, true],
71 | ERCF | Reverse Active Fundamental Energy - Phase C | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 108 | true | 'ERCF' => ['Reverse Active Fundamental Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 108, true],
72 | ERTF | Reverse Active Fundamental Energy - Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | FEx | Fundamental Energy | 91 | 109 | true | 'ERTF' => ['Reverse Active Fundamental Energy - Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'FEx', 'Fundamental Energy', 91, 109, true],
33 | PAH | Active Harmonic Power - Phase A | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | HPx | Harmonic Power | 95 | 110 | true | 'PAH' => ['Active Harmonic Power - Phase A', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'HPx', 'Harmonic Power', 95, 110, true],
34 | PBH | Active Harmonic Power - Phase B | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | HPx | Harmonic Power | 95 | 111 | true | 'PBH' => ['Active Harmonic Power - Phase B', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'HPx', 'Harmonic Power', 95, 111, true],
35 | PCH | Active Harmonic Power - Phase C | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | HPx | Harmonic Power | 95 | 112 | true | 'PCH' => ['Active Harmonic Power - Phase C', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'HPx', 'Harmonic Power', 95, 112, true],
36 | PTH | Active Harmonic Power - Total | VARIABLETYPE_FLOAT | SM.Watt.2 | 1 | 2 | HPx | Harmonic Power | 95 | 113 | true | 'PTH' => ['Active Harmonic Power - Total', VARIABLETYPE_FLOAT, 'SM.Watt.2', 1, 2, 'HPx', 'Harmonic Power', 95, 113, true],
57 | EFAH | Forward Active Harmonic Energy - Phase A | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 114 | true | 'EFAH' => ['Forward Active Harmonic Energy - Phase A ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 114, true],
58 | EFBH | Forward Active Harmonic Energy - Phase B | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 115 | true | 'EFBH' => ['Forward Active Harmonic Energy - Phase B ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 115, true],
59 | EFCH | Forward Active Harmonic Energy - Phase C | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 116 | true | 'EFCH' => ['Forward Active Harmonic Energy - Phase C ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 116, true],
60 | EFTH | Forward Active Harmonic Energy - Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 117 | true | 'EFTH' => ['Forward Active Harmonic Energy - Total ', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 117, true],
73 | ERAH | Reverse Active Harmonic Energy - Phase A | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 118 | true | 'ERAH' => ['Reverse Active Harmonic Energy - Phase A', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 118, true],
74 | ERBH | Reverse Active Harmonic Energy - Phase B | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 119 | true | 'ERBH' => ['Reverse Active Harmonic Energy - Phase B', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 119, true],
75 | ERCH | Reverse Active Harmonic Energy - Phase C | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 120 | true | 'ERCH' => ['Reverse Active Harmonic Energy - Phase C', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 120, true],
76 | ERTH | Reverse Active Harmonic Energy - Total | VARIABLETYPE_FLOAT | SM.kWh.3 | 0.001 | 3 | HEx | Harmonic Energy | 96 | 121 | true | 'ERTH' => ['Reverse Active Harmonic Energy - Total', VARIABLETYPE_FLOAT, 'SM.kWh.3', 0.001, 3, 'HEx', 'Harmonic Energy', 96, 121, true],

## API Power-Meter EN v.1.3
Nr | Field | Value | Unit
1 | F | Frequency | Hz
2 | T | Internal Temperature | °C
3 | IN0 | Current phase N Calculated
4 | VA | Voltage phase A | V
5 | VB | Voltage phase B | V
6 | VC | Voltage phase C (Supply phase) | V
7 | IA | Current phase A RMS | A
8 | IB | Current phase B RMS | A
9 | IC | Current phase C RMS | A
10 | IN | Current phase N RMS | A
11 | IAA | Phase Angle Current to Voltage of phase A | °
12 | IAB | Phase Angle Current to Voltage of phase B | °
13 | IAC | Phase Angle Current to Voltage of phase C | °
14 | UAA | Phase Angle Voltage phase A to phase C | °
15 | UAB | Phase Angle Voltage phase B to phase C | °
16 | UAC | Phase Angle Voltage phase C to phase C (always zero) | °
17 | THUA | Phase A Voltage THD+N | %
18 | THUB | Phase B Voltage THD+N | %
19 | THUC | Phase C Voltage THD+N | %
20 | THIA | Phase A Current THD+N | %
21 | THIB | Phase B Current THD+N | %
22 | THIC | Phase C Current THD+N | %
23 | PA | Active Power phase A | W
24 | PB | Active Power phase B | W
25 | PC | Active Power phase C | W
26 | PT | Total Active Power | W
27 | PAF | Active Fundamental Power phase A | W
28 | PBF | Active Fundamental Power phase B | W
29 | PCF | Active Fundamental Power phase C | W
30 | PTF | Active Fundamental Power | W
31 | PAH | Active Harmonic Power phase A | W
32 | PBH | Active Harmonic Power phase B | W
33 | PCH | Active Harmonic Power phase C | W
34 | PTH | Total Active Harmonic Power | W
35 | QA | Reactive Power phase A | VAr
36 | QB | Reactive Power phase B | VAr
37 | QC | Reactive Power phase C | VAr
38 | QT | Total Reactive Power | VAr
39 | SA | Apparent Power phase A | VA
40 | SB | Apparent Power phase B | VA
41 | SC | Apparent Power phase C | VA
42 | ST | Total Apparent Power | VA
43 | PFA | Power factor phase A
44 | PFB | Power factor phase B
45 | PFC | Power factor phase C
46 | PFT | Total Power factor
47 | EFAA | Forward Active Energy phase A | Wh
48 | EFAB | Forward Active Energy phase B | Wh
49 | EFAC | Forward Active Energy phase C | Wh
50 | EFAT | Total Forward Active Energy | Wh
51 | EFAF | Forward Active Fundamental Energy phase A | Wh
52 | EFBF | Forward Active Fundamental Energy phase B | Wh
53 | EFCF | Forward Active Fundamental Energy phase C | Wh
54 | EFTF | Total Forward Active Fundamental Energy | Wh
55 | EFAH | Forward Active Harmonic Energy phase A | Wh
56 | EFBH | Forward Active Harmonic Energy phase B | Wh
57 | EFCH | Forward Active Harmonic Energy phase C | Wh
58 | EFTH | Total Forward Active Harmonic Energy | Wh
59 | EFRA | Forward Reactive Energy phase A | varh
60 | EFRB | Forward Reactive Energy phase B | varh
61 | EFRC | Forward Reactive Energy phase C | varh
62 | EFRT | Total Forward Reactive Energy | varh
63 | ERAA | Reverse Active Energy phase A | Wh
64 | ERAB | Reverse Active Energy phase B | Wh
65 | ERAC | Reverse Active Energy phase C | Wh
66 | ERAT | Total Reverse Active Energy | Wh
67 | ERAF | Reverse Active Fundamental Energy phase A | Wh
68 | ERBF | Reverse Active Fundamental Energy phase B | Wh
69 | ERCF | Reverse Active Fundamental Energy phase C | Wh
70 | ERTF | Total Reverse Active Fundamental Energy | Wh
71 | ERAH | Reverse Active Harmonic Energy phase A | Wh
72 | ERBH | Reverse Active Harmonic Energy phase B | Wh
73 | ERCH | Reverse Active Harmonic Energy phase C | Wh
74 | ERTH | Total Reverse Active Harmonic Energy | Wh
75 | ERRA | Reverse Reactive Energy phase A | varh
76 | ERRB | Reverse Reactive Energy phase B | varh
77 | ERRC | Reverse Reactive Energy phase C | varh
78 | ERRT | Total Reverse Reactive Energy | varh
79 | ERSA | Apparent Reverse Energy phase A | VAh
80 | ERSB | Apparent Reverse Energy phase B | VAh
81 | ERSC | Apparent Reverse Energy phase C | VAh
82 | ERST | Total Apparent Reverse Energy | VAh
83 | ESA | Apparent Energy phase A | VAh
84 | ESB | Apparent Energy phase B | VAh
85 | ESC | Apparent Energy phase C | VAh
86 | EST | Total Apparent Energy | VAh
87 | EFSA | Apparent Forward Energy phase A | Wh
88 | EFSB | Apparent Forward Energy phase B | Wh
89 | EFSC | Apparent Forward Energy phase C | Wh
90 | EFST | Total Apparent Forward Energy | Wh
91 | ERA1 | Reactive Energy Quadrant 1 phase A | varh
92 | ERB1 | Reactive Energy Quadrant 1 phase B | varh
93 | ERC | Reactive Energy Quadrant 1 phase C | varh
94 | ERT1 | Total Reactive Energy Quadrant 1 | varh
95 | ERA2 | Reactive Energy Quadrant 2 phase A | varh
96 | ERB2 | Reactive Energy Quadrant 2 phase B | varh
97 | ERC2 | Reactive Energy Quadrant 2 phase C | varh
98 | ERT2 | Total Reactive Energy Quadrant 2 | varh
99 | ERA3 | Reactive Energy Quadrant 3 phase A | varh
100 | ERB3 | Reactive Energy Quadrant 3 phase B | varh
101 | ERC3 | Reactive Energy Quadrant 3 phase C | varh
102 | ERT3 | Total Reactive Energy Quadrant 3 | varh
103 | ERA4 | Reactive Energy Quadrant 4 phase A | varh
104 | ERB4 | Reactive Energy Quadrant 4 phase B | varh
105 | ERC4 | Reactive Energy Quadrant 4 phase C | varh
106 | ERT4 | Total Reactive Energy Quadrant 4 | varh
107 | EVT | (Vector Sum) Total Apparent Energy | Varh
108 | EMT | (Vector Sum) Total Apparent Power | VA
109 | VAB | phase A – phase B Voltage | V
110 | VBC | phase B – phase C Voltage | V
111 | VCA | phase C – phase A Voltage | V
112 | VT | Average N – phase Voltage | V
113 | IADC | Direct Current phase A | A
114 | IBDC | Direct Current phase B | A
115 | ICDC | Direct Current phase C | A
116 | TIME | Operating time in milliseconds (last factory reset) | ms
117 | SAMPLES | Counter from the Quadrants updated values
118 | STATUS | Status of the VPM